## Sizing Calcs
Marlee Float™ Skimmer Size Selection Tool - Version 2.0
This skimmer size selection tool is designed to more accurately calculate the draw down rate for specific skimmers based on specific basin criteria. Although they are often referred to as constant flow devices, skimmers have been shown to actually have variable flow rates, which are dependent upon a variety of factors. Testing is typically required to determine the actual flow rates. The use of a calculated flow rate to select a skimmer to meet a required draw down time has been widely accepted, however, as skimmer technology advances, many regulatory agencies are moving towards requiring more accurate models. This design tool takes into account basin size and depth, which directly correlate to skimmer flow rate. By incorporating these factors a more accurate selection of the skimmer can be made.
Date | [8 empty] | User Entries
Project Name | [8 empty] | Basin Description
Project Location | [8 empty] | Other 1
Company | [8 empty] | Other 2
Engineer | [8 empty] | Required Dewatering Volume |  |  |  | Area to Basin |  |  | Acres x | 3600 | CF/AC = | 0 | CF
For Calculated Pond Volume, adjust pond dimension inputs so that the volume is within 5% of Required Dewatering Volume. Adjust CF/Acre based on local MS4 requirements.
Inputs |  |  |  | Calculations |  |  |  |  | Skimmer Size Selection Optimization
Max. Time to Drain, hrs = |  |  | 120 | Calculated Pond Volume, ft3 = |  |  |  | 230000 | Skimmer Model / Orifice Size, in
Min. Time to Drain, hrs = |  |  | 48
Pond Depth, ft = |  |  | 6 | Calculated Pond Volume, gal = |  |  |  | 1720400 | MF 2" - 0.5" Orifice |  |  | MF 2" - 0.75" Orifice |  |  | MF 2" - 1.0" Orifice |  |  | MF 2" - 1.5" Orifice |  |  | MF 2" - 2" |  |  | MF 3" - 1.5" Orifice |  |  | MF 3" - 2.0" Orifice |  |  | MF 3" - 2.5" Orifice |  |  | MF 3" - 3" |  |  | MF 4" - 2.0" Orifice |  |  | MF 4" - 2.5" Orifice |  |  | MF 4" - 3.0" Orifice |  |  | MF 4" - 3.5" Orifice |  |  | MF 4" - 4" |  |  | MF 6" - 3.5" Orifice |  |  | MF 6" - 4" Orifice |  |  | MF 6" - 4.5" Orifice |  |  | MF 6" - 5" Orifice |  |  | MF 6" - 6" |  |  | MF 8" - 5" Orifice |  |  | MF 8" - 6" Orifice |  |  | MF 8" - 6.5" Orifice |  |  | MF 8" - 7" Orifice |  |  | MF 8" - 8" (6" Barrel) |  |  | MF 8" - 8" (8" Barrel)**
Pond Top Length, ft = |  |  | 300 | No. of Depth Increments for Calcs, in. = |  |  |  | 20
Pond Top Width, ft = |  |  | 200 | Depth Increments for Calcs, in. = |  |  |  | 3.6 | Flow Rate: |  |  | Flow Rate: |  |  | Flow Rate: |  |  | Flow Rate: |  |  | Flow Rate: |  |  | Flow Rate: |  |  | Flow Rate: |  |  | Flow Rate: |  |  | Flow Rate: |  |  | Flow Rate: |  |  | Flow Rate: |  |  | Flow Rate: |  |  | Flow Rate: |  |  | Flow Rate: |  |  | Flow Rate: |  |  | Flow Rate: |  |  | Flow Rate: |  |  | Flow Rate: |  |  | Flow Rate: |  |  | Flow Rate: |  |  | Flow Rate: |  |  | Flow Rate: |  |  | Flow Rate: |  |  | Flow Rate: |  |  | Flow Rate:
Pond Bottom Length, ft = |  |  | 200 | Note: Equations are from product testing: |  |  |  |  | 1.6425*depth0.0636 |  |  | 6.4078*depth0.0312 |  |  | 7.5459*depth0.0748 |  |  | 14.221*depth0.0401 |  |  | 22.133*depth0.1378 |  |  | 16.127*depth0.0897 |  |  | 29.588*depth0.0625 |  |  | 44.782*depth0.1537 |  |  | 60.386*depth0.12 |  |  | 32.786*depth0.0463 |  |  | 48.885*depth0.0519 |  |  | 72.011*depth0.0744 |  |  | 99.028*depth0.0712 |  |  | 141.13*depth0.1432 |  |  | 89.451*depth0.1513 |  |  | 118.43*depth0.1505 |  |  | 153.15*depth0.1974 |  |  | 203.74*depth0.1016 |  |  | 283.77*depth0.1496 |  |  | 221.56*depth0.0978 |  |  | 285.69*depth0.1727 |  |  | 325.99*depth0.1813 |  |  | 411.28*depth0.2837 |  |  | 496.27*depth0.2375 |  |  | 657.43*depth0.1617
Pond Bottom Width, ft = |  |  | 100
Water Level Depth, in. | Avg. Water Level Depth, in. | Incr. Depth, in | L | W | Incr. Dis-charge, ft3 | Cumm. Dis-charge, ft3 | Cumm. Dis-charge, gal | % of Total Volume Dis-charged | Skimmer Flow Rate, gal/min | Skimmer Flow Rate, cfs | Cumm. Drain Time, hrs. | Skimmer Flow Rate, gal/min | Skimmer Flow Rate, cfs | Cumm. Drain Time, hrs. | Skimmer Flow Rate, gal/min | Skimmer Flow Rate, cfs | Cumm. Drain Time, hrs. | Skimmer Flow Rate, gal/min | Skimmer Flow Rate, cfs | Cumm. Drain Time, hrs. | Skimmer Flow Rate, gal/min | Skimmer Flow Rate, cfs | Cumm. Drain Time, hrs. | Skimmer Flow Rate, gal/min | Skimmer Flow Rate, cfs | Cumm. Drain Time, hrs. | Skimmer Flow Rate, gal/min | Skimmer Flow Rate, cfs | Cumm. Drain Time, hrs. | Skimmer Flow Rate, gal/min | Skimmer Flow Rate, cfs | Cumm. Drain Time, hrs. | Skimmer Flow Rate, gal/min | Skimmer Flow Rate, cfs | Cumm. Drain Time, hrs. | Skimmer Flow Rate, gal/min | Skimmer Flow Rate, cfs | Cumm. Drain Time, hrs. | Skimmer Flow Rate, gal/min | Skimmer Flow Rate, cfs | Cumm. Drain Time, hrs. | Skimmer Flow Rate, gal/min | Skimmer Flow Rate, cfs | Cumm. Drain Time, hrs. | Skimmer Flow Rate, gal/min | Skimmer Flow Rate, cfs | Cumm. Drain Time, hrs. | Skimmer Flow Rate, gal/min | Skimmer Flow Rate, cfs | Cumm. Drain Time, hrs. | Skimmer Flow Rate, gal/min | Skimmer Flow Rate, cfs | Cumm. Drain Time, hrs. | Skimmer Flow Rate, gal/min | Skimmer Flow Rate, cfs | Cumm. Drain Time, hrs. | Skimmer Flow Rate, gal/min | Skimmer Flow Rate, cfs | Cumm. Drain Time, hrs. | Skimmer Flow Rate, gal/min | Skimmer Flow Rate, cfs | Cumm. Drain Time, hrs. | Skimmer Flow Rate, gal/min | Skimmer Flow Rate, cfs | Cumm. Drain Time, hrs. | Skimmer Flow Rate, gal/min | Skimmer Flow Rate, cfs | Cumm. Drain Time, hrs. | Skimmer Flow Rate, gal/min | Skimmer Flow Rate, cfs | Cumm. Drain Time, hrs. | Skimmer Flow Rate, gal/min | Skimmer Flow Rate, cfs | Cumm. Drain Time, hrs. | Skimmer Flow Rate, gal/min | Skimmer Flow Rate, cfs | Cumm. Drain Time, hrs. | Skimmer Flow Rate, gal/min | Skimmer Flow Rate, cfs | Cumm. Drain Time, hrs. | Skimmer Flow Rate, gal/min | Skimmer Flow Rate, cfs | Cumm. Drain Time, hrs.
72 |  |  | 300 | 200
68.4 | 70.2 | 3.6 | 295 | 195 | 17627.5 | 17627.5 | 131853.7 | 7.664% | 1.8378 | 0.0040952 | 1195.7615 | 6.7709 | 0.015088 | 324.5614 | 8.6118 | 0.01919 | 255.1801 | 15.2649 | 0.034015 | 143.962 | 28.2328 | 0.062912 | 77.8371 | 18.8959 | 0.042106 | 116.2984 | 33.0417 | 0.073628 | 66.5087 | 58.751 | 0.13092 | 37.4047 | 74.644 | 0.16633 | 29.4406 | 35.5801 | 0.079284 | 61.7637 | 53.5786 | 0.11939 | 41.0157 | 82.125 | 0.183 | 19.4584 | 112.2999 | 0.25024 | 19.5687 | 181.7507 | 0.405 | 12.0911 | 116.8573 | 0.2604 | 18.8055 | 154.4965 | 0.34427 | 14.224 | 217.0469 | 0.48365 | 10.1248 | 243.7919 | 0.54325 | 9.0141 | 369.6009 | 0.82359 | 5.9458 | 263.3414 | 0.58681 | 8.3449 | 387.5992 | 0.8637 | 5.6697 | 449.0448 | 1.0006 | 4.8939 | 678.8592 | 1.5127 | 3.2371 | 754.9489 | 1.6823 | 2.9109 | 874.7795 | 1.9493 | 2.5121
64.8 | 66.6 | 3.6 | 290 | 190 | 16892.5 | 34520 | 258209.6 | 15.01% | 1.8316 | 0.0040815 | 2345.5074 | 6.7598 | 0.015063 | 636.1011 | 8.578 | 0.019115 | 500.685 | 15.2327 | 0.033943 | 282.2129 | 28.0288 | 0.062457 | 152.9718 | 18.8069 | 0.041908 | 228.275 | 32.9332 | 0.073386 | 130.4542 | 58.2776 | 0.12986 | 73.5409 | 74.174 | 0.16528 | 57.8324 | 35.4935 | 0.079091 | 121.0965 | 53.4324 | 0.11907 | 80.4287 | 81.8039 | 0.18229 | 45.202 | 111.8798 | 0.24931 | 38.3918 | 180.3857 | 0.40196 | 23.7657 | 115.9302 | 0.25833 | 36.971 | 153.2773 | 0.34155 | 27.9634 | 214.803 | 0.47865 | 19.9288 | 242.4915 | 0.54035 | 17.6986 | 366.7015 | 0.81713 | 11.6887 | 261.9891 | 0.5838 | 16.3832 | 384.0913 | 0.85588 | 11.1526 | 444.7793 | 0.99112 | 9.6286 | 668.7958 | 1.4903 | 6.386 | 745.5686 | 1.6614 | 5.7355 | 867.3646 | 1.9328 | 4.9401
61.2 | 63 | 3.6 | 285 | 185 | 16172.5 | 50692.5 | 379179.9 | 22.04% | 1.8252 | 0.0040671 | 3450.1455 | 6.748 | 0.015037 | 934.8798 | 8.5424 | 0.019035 | 736.7048 | 15.1988 | 0.033868 | 414.8665 | 27.8149 | 0.061981 | 225.457 | 18.7134 | 0.0417 | 336.0147 | 32.819 | 0.073132 | 191.8872 | 57.7819 | 0.12876 | 108.4337 | 73.681 | 0.16419 | 85.1959 | 35.4023 | 0.078888 | 178.0468 | 53.2785 | 0.11872 | 118.2709 | 81.4664 | 0.18153 | 69.9505 | 111.438 | 0.24832 | 56.4842 | 178.956 | 0.39877 | 35.032 | 114.9596 | 0.25617 | 54.5091 | 152.0007 | 0.33871 | 41.2276 | 212.4596 | 0.47343 | 29.4185 | 241.1262 | 0.53731 | 26.0601 | 363.6657 | 0.81037 | 17.2327 | 260.5691 | 0.58063 | 24.1207 | 380.4228 | 0.84771 | 16.4524 | 440.3208 | 0.98118 | 14.2075 | 658.3348 | 1.467 | 9.4485 | 735.7933 | 1.6396 | 8.4756 | 859.6057 | 1.9155 | 7.2856
57.6 | 59.4 | 3.6 | 280 | 180 | 15467.5 | 66160 | 494876.8 | 28.77% | 1.8184 | 0.0040519 | 4510.5906 | 6.7357 | 0.015009 | 1221.159 | 8.5049 | 0.018952 | 963.4317 | 15.163 | 0.033788 | 542.0371 | 27.5903 | 0.06148 | 295.3467 | 18.6149 | 0.04148 | 439.603 | 32.6985 | 0.072863 | 250.8587 | 57.2617 | 0.1276 | 142.1086 | 73.1626 | 0.16303 | 111.552 | 35.306 | 0.078674 | 232.663 | 53.116 | 0.11836 | 154.5741 | 81.1106 | 0.18074 | 93.724 | 110.9721 | 0.24728 | 73.8604 | 177.4544 | 0.39543 | 45.8983 | 113.9407 | 0.2539 | 71.4327 | 150.6606 | 0.33572 | 54.0264 | 210.0062 | 0.46796 | 38.6005 | 239.689 | 0.53411 | 34.1051 | 360.4785 | 0.80327 | 22.5819 | 259.0739 | 0.5773 | 31.5637 | 376.5766 | 0.83914 | 21.5729 | 435.6485 | 0.97077 | 18.6337 | 647.4364 | 1.4427 | 12.4268 | 725.5824 | 1.6168 | 11.1332 | 851.4657 | 1.8973 | 9.5502
54 | 55.8 | 3.6 | 275 | 175 | 14777.5 | 80937.5 | 605412.5 | 35.19% | 1.8112 | 0.0040359 | 5527.7662 | 6.7225 | 0.01498 | 1495.2014 | 8.4652 | 0.018863 | 1181.0597 | 15.125 | 0.033704 | 663.8396 | 27.3537 | 0.060953 | 362.6965 | 18.5108 | 0.041248 | 539.1269 | 32.571 | 0.072579 | 307.4201 | 56.7141 | 0.12638 | 174.5919 | 72.6157 | 0.16181 | 136.922 | 35.204 | 0.078446 | 284.9941 | 52.944 | 0.11798 | 189.3705 | 80.7342 | 0.1799 | 116.5429 | 110.4792 | 0.24618 | 90.5356 | 175.8728 | 0.3919 | 56.3733 | 112.868 | 0.25151 | 87.7549 | 149.2497 | 0.33258 | 66.3699 | 207.4303 | 0.46222 | 47.4819 | 238.1714 | 0.53073 | 41.8401 | 357.1227 | 0.79579 | 27.7406 | 257.4947 | 0.57378 | 38.7183 | 372.5325 | 0.83013 | 26.5182 | 430.7383 | 0.95983 | 22.9107 | 636.054 | 1.4173 | 15.3232 | 714.8882 | 1.593 | 13.7102 | 842.9012 | 1.8783 | 11.7358
50.4 | 52.2 | 3.6 | 270 | 170 | 14102.5 | 95040 | 710899.2 | 41.32% | 1.8035 | 0.0040188 | 6502.6058 | 6.7086 | 0.014949 | 1757.271 | 8.4231 | 0.018769 | 1389.7856 | 15.0846 | 0.033613 | 780.3898 | 27.1034 | 0.060395 | 427.5633 | 18.4003 | 0.041002 | 634.6746 | 32.4355 | 0.072277 | 361.6233 | 56.1357 | 0.12509 | 205.9108 | 72.0369 | 0.16052 | 161.3277 | 35.0954 | 0.078204 | 335.0893 | 52.761 | 0.11757 | 222.6927 | 80.3346 | 0.17901 | 138.4277 | 109.9559 | 0.24502 | 106.5249 | 174.2011 | 0.38818 | 66.4657 | 111.7348 | 0.24898 | 103.4896 | 147.7591 | 0.32926 | 78.2684 | 204.7174 | 0.45618 | 56.0699 | 236.563 | 0.52714 | 49.272 | 353.5774 | 0.78789 | 32.7129 | 255.8207 | 0.57005 | 45.5907 | 368.2664 | 0.82062 | 31.2922 | 425.5615 | 0.94829 | 27.042 | 624.1328 | 1.3908 | 18.1401 | 703.6541 | 1.568 | 16.2087 | 833.8602 | 1.8581 | 13.8442
46.8 | 48.6 | 3.6 | 265 | 165 | 13442.5 | 108482.5 | 811449.1 | 47.17% | 1.7953 | 0.0040005 | 7436.0554 | 6.6936 | 0.014916 | 2007.6333 | 8.3782 | 0.018669 | 1589.8094 | 15.0414 | 0.033517 | 891.8042 | 26.8378 | 0.059804 | 490.0061 | 18.2828 | 0.04074 | 726.3364 | 32.291 | 0.071955 | 413.5211 | 55.5225 | 0.12372 | 236.0937 | 71.4218 | 0.15915 | 184.7916 | 34.9795 | 0.077946 | 382.9983 | 52.5657 | 0.11713 | 254.5734 | 79.9086 | 0.17806 | 159.3996 | 109.3979 | 0.24377 | 121.8436 | 172.4276 | 0.38423 | 76.1848 | 110.5333 | 0.24631 | 118.6509 | 146.1786 | 0.32573 | 89.7327 | 201.8499 | 0.44979 | 64.3722 | 234.8517 | 0.52333 | 56.4077 | 349.8177 | 0.77951 | 37.5035 | 254.039 | 0.56608 | 52.1875 | 363.7496 | 0.81056 | 35.8993 | 420.0837 | 0.93609 | 31.0313 | 611.6072 | 1.3629 | 20.8802 | 691.8128 | 1.5416 | 18.6311 | 824.2804 | 1.8368 | 15.8773
43.2 | 45 | 3.6 | 260 | 160 | 12797.5 | 121280 | 907174.4 | 52.73% | 1.7865 | 0.003981 | 8329.0765 | 6.6776 | 0.01488 | 2246.5556 | 8.3301 | 0.018562 | 1781.3351 | 14.9951 | 0.033414 | 998.2005 | 26.5547 | 0.059173 | 550.0867 | 18.157 | 0.04046 | 814.2045 | 32.1361 | 0.07161 | 463.167 | 54.8696 | 0.12227 | 265.1703 | 70.7652 | 0.15769 | 207.3369 | 34.8551 | 0.077669 | 428.7713 | 52.3562 | 0.11667 | 285.0458 | 79.4524 | 0.17705 | 179.4798 | 108.8 | 0.24244 | 136.5073 | 170.5378 | 0.38002 | 85.54 | 109.2537 | 0.24345 | 133.2538 | 144.4952 | 0.32198 | 100.7741 | 198.8066 | 0.44301 | 72.3972 | 233.0225 | 0.51925 | 63.2543 | 345.8132 | 0.77059 | 42.117 | 252.1341 | 0.56184 | 58.5151 | 358.9469 | 0.79985 | 40.344 | 414.263 | 0.92312 | 34.8825 | 598.3982 | 1.3334 | 23.5463 | 679.2825 | 1.5137 | 20.9798 | 814.0862 | 1.8141 | 17.8371
39.6 | 41.4 | 3.6 | 255 | 155 | 12167.5 | 133447.5 | 998187.3 | 58.02% | 1.7771 | 0.00396 | 9182.6502 | 6.6602 | 0.014841 | 2474.3079 | 8.2783 | 0.018447 | 1964.5715 | 14.945 | 0.033303 | 1099.698 | 26.2514 | 0.058497 | 607.8696 | 18.0217 | 0.040158 | 898.3742 | 31.969 | 0.071238 | 510.6155 | 54.1709 | 0.12071 | 293.1721 | 70.0607 | 0.15612 | 228.9878 | 34.7208 | 0.077369 | 472.4593 | 52.1301 | 0.11616 | 314.1438 | 78.961 | 0.17595 | 198.6904 | 108.156 | 0.24101 | 150.5323 | 168.5136 | 0.3755 | 94.5415 | 107.884 | 0.2404 | 147.3141 | 142.6933 | 0.31797 | 111.4044 | 195.5611 | 0.43578 | 80.1538 | 231.0568 | 0.51487 | 69.8193 | 341.5264 | 0.76103 | 46.5585 | 250.0864 | 0.55728 | 64.5806 | 353.8151 | 0.78842 | 44.6312 | 408.0476 | 0.90927 | 38.5999 | 584.409 | 1.3023 | 26.1419 | 665.9629 | 1.484 | 23.2575 | 803.1837 | 1.7898 | 19.7257
36 | 37.8 | 3.6 | 250 | 150 | 11552.5 | 145000 | 1084600 | 63.04% | 1.7668 | 0.0039371 | 9997.783 | 6.6413 | 0.014799 | 2691.1633 | 8.2221 | 0.018322 | 2139.7342 | 14.8906 | 0.033181 | 1196.4174 | 25.9243 | 0.057768 | 663.4241 | 17.8752 | 0.039832 | 978.9443 | 31.7878 | 0.070834 | 555.9226 | 53.4188 | 0.11903 | 320.1329 | 69.3 | 0.15442 | 249.7701 | 34.5748 | 0.077044 | 514.1142 | 51.8845 | 0.11562 | 341.9019 | 78.4284 | 0.17476 | 217.0538 | 107.4577 | 0.23945 | 163.9349 | 166.3326 | 0.37064 | 103.2002 | 106.4093 | 0.23712 | 160.8488 | 140.7529 | 0.31364 | 121.6366 | 192.0806 | 0.42802 | 87.6517 | 228.931 | 0.51013 | 76.1103 | 336.9099 | 0.75075 | 50.8333 | 247.8712 | 0.55234 | 70.3909 | 348.2998 | 0.77613 | 48.7662 | 401.3728 | 0.89439 | 42.1881 | 569.5191 | 1.2691 | 28.6707 | 651.7286 | 1.4523 | 25.4673 | 791.4552 | 1.7636 | 21.5454
32.4 | 34.2 | 3.6 | 245 | 145 | 10952.5 | 155952.5 | 1166524.7 | 67.81% | 1.7556 | 0.0039121 | 10775.5153 | 6.6206 | 0.014753 | 2897.3988 | 8.1608 | 0.018185 | 2307.0474 | 14.831 | 0.033048 | 1288.4824 | 25.5692 | 0.056977 | 716.8246 | 17.7155 | 0.039476 | 1056.0188 | 31.5895 | 0.070392 | 599.1461 | 52.6033 | 0.11722 | 346.0896 | 68.4727 | 0.15258 | 269.7111 | 34.415 | 0.076688 | 553.7891 | 51.6157 | 0.11502 | 368.3553 | 77.8465 | 0.17347 | 234.5935 | 106.6947 | 0.23775 | 176.7322 | 163.9657 | 0.36537 | 111.5276 | 104.8101 | 0.23355 | 173.8763 | 138.6487 | 0.30896 | 131.4846 | 188.323 | 0.41965 | 94.9021 | 226.6149 | 0.50497 | 82.1356 | 331.9031 | 0.73959 | 54.9472 | 245.4569 | 0.54696 | 75.9536 | 342.3314 | 0.76283 | 52.7548 | 394.1556 | 0.87831 | 45.6523 | 553.5758 | 1.2336 | 31.1373 | 636.4198 | 1.4182 | 27.6128 | 778.7498 | 1.7353 | 23.2987
28.8 | 30.6 | 3.6 | 240 | 140 | 10367.5 | 166320 | 1244073.6 | 72.31% | 1.7433 | 0.0038846 | 11516.9332 | 6.5977 | 0.014702 | 3093.2974 | 8.0932 | 0.018034 | 2466.7471 | 14.765 | 0.032901 | 1376.0194 | 25.1803 | 0.05611 | 768.1536 | 17.5396 | 0.039084 | 1129.708 | 31.3707 | 0.069904 | 640.3464 | 51.7117 | 0.11523 | 371.0836 | 67.5649 | 0.15056 | 288.8405 | 34.2382 | 0.076294 | 591.5388 | 51.3186 | 0.11436 | 393.5407 | 77.205 | 0.17204 | 251.3345 | 105.8531 | 0.23588 | 188.9424 | 161.3749 | 0.3596 | 119.5368 | 103.0611 | 0.22965 | 186.4172 | 136.3471 | 0.30383 | 140.964 | 184.2333 | 0.41053 | 101.9176 | 224.0685 | 0.4993 | 87.9038 | 326.4261 | 0.72739 | 58.9067 | 242.8013 | 0.54104 | 81.2768 | 335.8184 | 0.74832 | 56.6035 | 386.2869 | 0.86078 | 48.9982 | 536.3806 | 1.1952 | 33.5469 | 619.8282 | 1.3812 | 29.698 | 764.869 | 1.7044 | 24.9885
25.2 | 27 | 3.6 | 235 | 135 | 9797.5 | 176117.5 | 1317358.9 | 76.57% | 1.7294 | 0.0038538 | 12223.188 | 6.572 | 0.014645 | 3279.15 | 8.0178 | 0.017866 | 2619.0862 | 14.691 | 0.032737 | 1459.16 | 24.7498 | 0.055151 | 817.5045 | 17.3438 | 0.038648 | 1200.1321 | 31.1263 | 0.06936 | 679.5872 | 50.7264 | 0.11304 | 395.1622 | 66.5577 | 0.14831 | 307.1919 | 34.0404 | 0.075853 | 627.4203 | 50.9863 | 0.11361 | 417.4965 | 76.4894 | 0.17044 | 267.303 | 104.914 | 0.23378 | 200.5845 | 158.5083 | 0.35321 | 127.2425 | 101.1278 | 0.22535 | 198.4952 | 133.8028 | 0.29816 | 150.0925 | 179.7371 | 0.40051 | 108.7132 | 221.2371 | 0.49299 | 93.4247 | 320.3708 | 0.71389 | 62.7192 | 239.8473 | 0.53446 | 86.3693 | 328.6374 | 0.73231 | 60.3202 | 377.62 | 0.84146 | 52.2327 | 517.6685 | 1.1535 | 35.9064 | 601.6742 | 1.3407 | 31.7281 | 749.5445 | 1.6702 | 26.6181
21.6 | 23.4 | 3.6 | 230 | 130 | 9242.5 | 185360 | 1386492.8 | 80.59% | 1.7138 | 0.0038188 | 12895.5269 | 6.5427 | 0.014579 | 3455.2591 | 7.9324 | 0.017676 | 2764.3422 | 14.607 | 0.032549 | 1538.0423 | 24.2665 | 0.054074 | 864.9869 | 17.1226 | 0.038155 | 1267.4252 | 30.8491 | 0.068742 | 716.9378 | 49.6229 | 0.11058 | 418.382 | 65.4245 | 0.14579 | 324.8035 | 33.8156 | 0.075352 | 661.4943 | 50.6091 | 0.11277 | 440.2638 | 75.6794 | 0.16864 | 282.5281 | 103.8505 | 0.23141 | 211.6796 | 155.2931 | 0.34604 | 134.6622 | 98.9618 | 0.22052 | 210.1384 | 130.9519 | 0.2918 | 158.8914 | 174.7309 | 0.38936 | 115.3075 | 218.0438 | 0.48587 | 98.7091 | 313.5853 | 0.69877 | 66.3936 | 236.5139 | 0.52703 | 91.241 | 320.6151 | 0.71444 | 63.914 | 367.9489 | 0.81991 | 55.3642 | 497.0733 | 1.1076 | 38.2244 | 581.569 | 1.2959 | 33.7093 | 732.3996 | 1.632 | 28.1913
18 | 19.8 | 3.6 | 225 | 125 | 8702.5 | 194062.5 | 1451587.5 | 84.38% | 1.6957 | 0.0037785 | 13535.3457 | 6.5087 | 0.014504 | 3621.9454 | 7.8339 | 0.017457 | 2902.8313 | 14.5095 | 0.032332 | 1612.815 | 23.7143 | 0.052843 | 910.7362 | 16.8679 | 0.037587 | 1331.7432 | 30.5287 | 0.068028 | 752.4752 | 48.365 | 0.10777 | 440.8138 | 64.126 | 0.14289 | 341.7219 | 33.5551 | 0.074772 | 693.8266 | 50.1722 | 0.1118 | 461.8876 | 74.7446 | 0.16656 | 297.0431 | 102.6226 | 0.22868 | 222.2515 | 151.6223 | 0.33786 | 141.8176 | 96.4918 | 0.21502 | 221.3819 | 127.7006 | 0.28456 | 167.3871 | 169.0629 | 0.37673 | 121.7247 | 214.3743 | 0.4777 | 103.7699 | 305.8455 | 0.68153 | 69.9408 | 232.6812 | 0.51849 | 95.9037 | 311.4975 | 0.69412 | 67.3969 | 356.972 | 0.79545 | 58.4034 | 474.0649 | 1.0564 | 40.5129 | 558.9468 | 1.2455 | 35.6503 | 712.8804 | 1.5885 | 29.7132
14.4 | 16.2 | 3.6 | 220 | 120 | 8177.5 | 202240 | 1512755.2 | 87.93% | 1.6742 | 0.0037306 | 14144.2882 | 6.4681 | 0.014413 | 3779.5597 | 7.7172 | 0.017197 | 3034.9337 | 14.3932 | 0.032073 | 1683.6445 | 23.0675 | 0.051402 | 954.931 | 16.567 | 0.036917 | 1393.2788 | 30.1482 | 0.06718 | 786.2902 | 46.896 | 0.1045 | 462.5526 | 62.6003 | 0.13949 | 358.0072 | 33.2447 | 0.07408 | 724.4919 | 49.6524 | 0.11064 | 482.4196 | 73.6369 | 0.16409 | 310.8875 | 101.1667 | 0.22543 | 232.3285 | 147.3273 | 0.32829 | 148.7373 | 93.6062 | 0.20859 | 232.2729 | 123.9016 | 0.27609 | 175.6151 | 162.4968 | 0.3621 | 127.9984 | 210.0478 | 0.46806 | 108.6234 | 296.8004 | 0.66137 | 73.3756 | 228.1592 | 0.50841 | 100.3719 | 300.8872 | 0.67048 | 70.7851 | 344.2182 | 0.76703 | 61.3651 | 447.8301 | 0.99791 | 42.7894 | 532.9326 | 1.1876 | 37.5632 | 690.1198 | 1.5378 | 31.1904
10.8 | 12.6 | 3.6 | 215 | 115 | 7667.5 | 209907.5 | 1570108.1 | 91.26% | 1.6476 | 0.0036714 | 14724.4527 | 6.4176 | 0.0143 | 3928.5075 | 7.5735 | 0.016876 | 3161.1479 | 14.2489 | 0.031751 | 1750.7293 | 22.2823 | 0.049652 | 997.8297 | 16.1977 | 0.036094 | 1452.2921 | 29.6784 | 0.066133 | 818.4982 | 45.1191 | 0.10054 | 483.7383 | 60.7406 | 0.13535 | 373.7443 | 32.8601 | 0.073223 | 753.5813 | 49.0089 | 0.10921 | 501.9238 | 72.2729 | 0.16105 | 324.1135 | 99.3726 | 0.22144 | 241.9477 | 142.1195 | 0.31669 | 155.4632 | 90.1138 | 0.2008 | 242.8804 | 119.3028 | 0.26585 | 183.6273 | 154.6321 | 0.34457 | 134.1801 | 204.7525 | 0.45626 | 113.2919 | 285.8488 | 0.63697 | 76.7197 | 222.6197 | 0.49607 | 104.6657 | 288.1074 | 0.642 | 74.1029 | 328.8864 | 0.73287 | 64.2715 | 417.0124 | 0.92924 | 45.0816 | 502.0541 | 1.1187 | 39.4672 | 662.6372 | 1.4766 | 32.6329
7.2 | 9 | 3.6 | 210 | 110 | 7172.5 | 217080 | 1623758.4 | 94.38% | 1.6127 | 0.0035937 | 15278.9017 | 6.3505 | 0.014151 | 4069.3099 | 7.3853 | 0.016457 | 3282.2231 | 14.0579 | 0.031326 | 1814.3357 | 21.2728 | 0.047403 | 1039.8633 | 15.7162 | 0.035021 | 1509.1871 | 29.0608 | 0.064757 | 849.2673 | 42.845 | 0.095473 | 504.6082 | 58.3369 | 0.12999 | 389.072 | 32.3522 | 0.072091 | 781.22 | 48.1605 | 0.10732 | 520.4903 | 70.4861 | 0.15707 | 336.7993 | 97.0202 | 0.21619 | 251.164 | 135.4341 | 0.30179 | 162.0655 | 85.641 | 0.19084 | 253.3213 | 113.4119 | 0.25272 | 191.5116 | 144.6952 | 0.32243 | 140.3598 | 197.8712 | 0.44092 | 117.8108 | 271.8164 | 0.6057 | 80.0093 | 215.4132 | 0.48001 | 108.8166 | 271.843 | 0.60576 | 77.3922 | 309.4232 | 0.6895 | 67.1613 | 379.0465 | 0.84464 | 47.4406 | 463.495 | 1.0328 | 41.3964 | 627.548 | 1.3984 | 34.0578
3.6 | 5.4 | 3.6 | 205 | 105 | 6692.5 | 223772.5 | 1673818.3 | 97.29% | 1.5612 | 0.0034788 | 15813.3295 | 6.2501 | 0.013927 | 4202.8001 | 7.1084 | 0.01584 | 3399.5959 | 13.7729 | 0.030691 | 1874.9137 | 19.8268 | 0.044181 | 1081.9443 | 15.0123 | 0.033452 | 1564.7637 | 28.1476 | 0.062722 | 878.9086 | 39.6098 | 0.088264 | 525.672 | 54.8683 | 0.12226 | 404.2781 | 31.596 | 0.070406 | 807.6262 | 46.9005 | 0.10451 | 538.2797 | 67.8575 | 0.15121 | 349.0946 | 93.5549 | 0.20847 | 260.0821 | 125.8808 | 0.2805 | 168.6934 | 79.2713 | 0.17664 | 263.8463 | 105.0196 | 0.23402 | 199.4562 | 130.8161 | 0.2915 | 146.7377 | 187.8636 | 0.41862 | 122.252 | 251.8182 | 0.56113 | 83.3225 | 204.9158 | 0.45662 | 112.8882 | 248.8885 | 0.55461 | 80.7444 | 282.0536 | 0.62851 | 70.1194 | 327.9095 | 0.73069 | 49.985 | 410.5405 | 0.91482 | 43.4286 | 577.7953 | 1.2875 | 35.5018
0 | 1.8 | 3.6 | 200 | 100 | 6227.5 | 230000 | 1720400 | 100% | 1.4558 | 0.003244 | 16346.6144 | 6.0395 | 0.013458 | 4331.3469 | 6.5476 | 0.01459 | 3518.1677 | 13.1793 | 0.029368 | 1933.8215 | 17.0414 | 0.037974 | 1127.5016 | 13.6034 | 0.030313 | 1621.8346 | 26.2798 | 0.05856 | 908.4508 | 33.4556 | 0.07455 | 548.8778 | 48.0914 | 0.10716 | 420.4215 | 30.029 | 0.066915 | 833.4799 | 44.3011 | 0.098718 | 555.8044 | 62.5317 | 0.13934 | 361.5101 | 86.5159 | 0.19279 | 269.0558 | 107.5562 | 0.23967 | 175.9116 | 67.1317 | 0.14959 | 275.4111 | 89.0151 | 0.19836 | 208.1778 | 105.3119 | 0.23467 | 154.1097 | 168.0224 | 0.37441 | 126.8726 | 213.6534 | 0.47609 | 86.9563 | 184.0404 | 0.4101 | 117.1067 | 205.8761 | 0.45876 | 84.5154 | 231.1158 | 0.515 | 73.4786 | 240.1014 | 0.53503 | 53.2185 | 316.2567 | 0.70473 | 45.8835 | 483.7528 | 1.078 | 37.1067
Lowest depth that can still drain through skimmer. |  |  | Skimmer / Orifice Combinations with Sufficient Flow: | [5 empty] | no |  |  | no |  |  | no |  |  | no |  |  | no |  |  | no |  |  | no |  |  | no |  |  | no |  |  | no |  |  | no |  |  | no |  |  | no |  |  | no |  |  | no |  |  | no |  |  | no |  |  | MF 6" - 5" Orifice |  |  | MF 6" - 6" |  |  | MF 8" - 5" Orifice |  |  | MF 8" - 6" Orifice |  |  | MF 8" - 6.5" Orifice |  |  | no |  |  | no |  |  | no
Skimmer draw down time for selection
Typically recommend skimmer with draw
down time closest to 72 hours.
Note on J7: Use these lines to input additional information,such as project mumber, project phase, etc.
Note on R9: Jamie McCutchen: Typically 1800 CF/AC, but may vary by area
Note on D13: Longest allowable time to drain basin. In NC & SC = 120 Other areas may vary
Note on I13: Confirm Calculated Pond Volume is accurate. If not, adjust Length and Width to achieve accurate volume
Note on D14: Shortest allowable time to drain basin. In NC & SC = 48 Other areas may vary
Note on D15: Height from invert of lowest outlet to invert of next outlet or spillway
Note on D16: Average Length at elevation of next outlet or spillway, not typically top of basin.
Note on D17: Average Width at elevation of next outlet or spillway, not typically top of basin. Prefer 2:1 ratio for length to width
Note on D18: Average Length at invert of lowest outlet/bottom of basin. Recommend 3:1 max side slopes.
Note on D19: Average Width at invert of lowest outlet/bottom of basin.

## Skimmer Report
Marlee Float™ Skimmer Size Selection Report
Date |  |  | 0
Company |  |  | 0
Engineer |  |  | 0
Project Name |  |  | 0
Project Location |  |  | 0
Basin Description |  |  | 0
Other 1
Other 2
Required Dewatering Volume |  |  | 0 | Acres x | 3600 | CF/AC = |  | 0
Confirm Calculated Pond Volume is similar to Required Dewatering Volume
Inputs |  |  |  | Calculations
Max. Time to Drain, hrs = |  |  | 120 | Calculated Pond Volume, ft3 = |  |  |  | 230000
Min. Time to Drain, hrs = |  |  | 48
Pond Depth, ft = |  |  | 6 | Calculated Pond Volume, gal = |  |  |  | 1720400
Pond Top Length, ft = |  |  | 300
Pond Top Width, ft = |  |  | 200
Pond Bottom Length, ft = |  |  | 200
Pond Bottom Width, ft = |  |  | 100
Minimum Average Flow Rate Allowable |  |  |  | 46000 | cfd to drain in | 120 | hrs
|  |  |  | 0.53241 | cfs
Maximum Average Flow Rate Allowable |  |  |  | 115000 | cfd to drain in | 48 | hrs
|  |  |  | 1.331 | cfs
Marlee Float™ Selection Chart
Model # | Orifice | Draw Down Time (hrs) |  | Acceptable for Basin
2" | 0.5" | 15278.9017 |  | no
2" | 0.75" | 4069.3099 |  | no
2" | 1.0" | 3282.2231 |  | no
2" | 1.5" | 1814.3357 |  | no
2" | 2" | 1039.8633 |  | no
3" | 1.5" | 1509.1871 |  | no
3" | 2.0" | 849.2673 |  | no
3" | 2.5" | 504.6082 |  | no
3" | 3" | 389.072 |  | no
4" | 2.0" | 781.22 |  | no
4" | 2.5" | 520.4903 |  | no
4" | 3.0" | 336.7993 |  | no
4" | 3.5" | 251.164 |  | no
4" | 4" | 162.0655 |  | no
6" | 3.5" | 253.3213 |  | no
6" | 4" | 191.5116 |  | no
6" | 4.5" | 140.3598 |  | no
6" | 5" | 117.8108 |  | MF 6" - 5" Orifice
6" | 6" | 80.0093 |  | MF 6" - 6"
8" | 5" | 108.8166 |  | MF 8" - 5" Orifice
8" | 6" | 77.3922 |  | MF 8" - 6" Orifice
8" | 6.5" | 67.1613 |  | MF 8" - 6.5" Orifice
8" | 7" | 47.4406 |  | no
8" | 8" | 41.3964 |  | no
8"** | 8"** | 34.0578 |  | no
** This 8" skimmer requires an 8" pipe instead of a 6" pipe from the skimmer to the outlet and is a special order item. Make sure to note on plans this is needed if this version is specified. Requires two weeks for shipping